| DATA NEEDED | ENTER DATA BELOW: |  |
| --- | --- | --- |
| 1. SAP PROJECT NUMBER |  |  |
| 2. NETWORK ACTIVITY NUMBER |  |  |
| 3. PROJECT TRACK NUMBER (eg. CCU012345) |  |  |
| 4. EQUIPMENT NAME & TYPE |  |  |
| 5. EQUIPMENT ADDRESS |  |  |
| 6. EQUIPMENT NUMBER |  |  |
| 7. SUPPLYING ZONE NAME & NUMBER |  |  |
| 8. SYS DIAGRAM SHEET & GRID REFERENCE |  |  |
| 9. EQUIPMENT RATING (Amps/kVA), 1ph or 3 ph |  |  |
| 10. 11 kV FEEDER NUMBER/NAME |  |  |
| 11. 11 kV EARTH FAULT LEVEL (AMPS) |  | Please indicate the bolted future max 11 kV earth fault level (phase to ground) at this distribution equipment location |
| 12. GPS COORDINATES or GOOGLE MAP (latitude/longitude) |  |  |
| 13. LAYOUT CONSTRUCTION SKETCH (Include a layout construction sketch of the proposed installation – showing location of the equipment, HV and LV cable connections and if possible nearest structures of concern (eg public swimming pools, Telstra pits etc) |  |  |
| 14. Is this a URD? URD Name & Stage No. | YES/NO |  |
| 15. 11kV PROTECTION ie: closest upstream protection device – not including the fuses in kiosk substations Note: Only fill in either 15(a) or 15 (b) |  |  |
| 15(a). For PTs or DOLF protected equipment: DOLF RATING (AMPS) |  | Refer to TS-4200 for correct fuse rating for this asset. |
| 15(b). For equipment other than PTs or DOLF protected |  |  |
| Instantaneous e/f (AMPS) (DELAY) |  | Is instantaneous earth fault protection installed on this 11 kV feeder? If so, what is the setting? |
| 11 kV E/F RELAY PROTECTION CURVE TYPE |  |  |
| E/F RELAY TIME MULTIPLIER |  |  |
| E/F RELAY PLUG SETTING |  |  |
| E/F CT RATIO |  |  |
| Instantaneous Overcurrent (AMPS) (DELAY) |  | Is Instantaneous overcurrent protection installed on each phase of this 11 kV feeder? If so, what is the setting? |

NOTES

- Protection details must be taken from the nearest upstream protection device. For example, this may be a drop out line fuse (DOLF), Recloser or Feeder Protection.

Protection data, 15(b), will be provided by Ausgrid as follows:

- For contestable design jobs, this is normally provided by Network Earthing. However, in some instances, specialist information is required from the Protection Officers in the Regions (via the Regional Protection email boxes).

- For regional design jobs, this information is required from the Protection Officers in the Regions (via the Regional Protection email boxes).

Regional Protection email boxes:

- Central:

tsc_engineers@ausgrid.com.au

- South and Eastern Suburbs:

transmission_substations_south@ausgrid.com.au

- Northern and Hunter Region:

Technical_Operations_North@ausgrid.com.au